## Feuil1
parameter name | long_name | cf_standard_name | cf_standard_name_uri | unit | valid_min | valid_max | core/bio/intermediate core/intermediate bio | sdn_parameter_urn | sdn_parameter_uri | sdn_uom_urn | sdn_uom_uri | comment | update date | status | Fillvalue | Data Type
BBP412 | Particle backscattering at 412 nanometers |  |  | m-1 | - | - | b
BBP650 | Particle backscattering at 650 nanometers | - |  | m-1 | - | - | b | SDN:P01::BB117R02 | http://vocab.nerc.ac.uk/collection/P01/current/BB117R02/ | SDN:P061::PMSR | http://vocab.nerc.ac.uk/collection/P06/current/PMSR/ |  | 2021-09-06 |  | 99999.f | float
BBP660 | Particle backscattering at 660 nanometers |  |  | m-1 | - | - | b
BBP715 | Particle backscattering at 715 nanometers |  |  | m-1 | - | - | b
BBP880 | Particle backscattering at 880 nanometers | - |  | m-1 | - | - | b |  |  | SDN:P061::PMSR | http://vocab.nerc.ac.uk/collection/P06/current/PMSR/ |  | 2021-09-06 |  | 99999.f | float
FLUORESCENCE_VOLTAGE_CHLA | Chlorophyll-A signal from analogic fluorescence sensor |  |  |  | - | - | ib
FLUORESCENCE_URANINE | Uranine signal from fluorescence sensor |  |  | count | - | - | ib
URANINE | Uranine |  |  | ppb | - | - | b | SDN:P01::URFLMCAL | https://vocab.nerc.ac.uk/collection/P01/current/URFLMCAL/ | SND::P061::UGPL | http://vocab.nerc.ac.uk/collection/P06/current/UGPL/ |  | 2023-06-23
FLUORESCENCE_RHODAMINE | Rhodamine signal from fluorescence sensor |  |  | count | - | - | ib
RHODAMINE | Rhodamine |  |  | ppb | - | - | b | SDN:P01::RHFLMCAL | http://vocab.nerc.ac.uk/collection/P01/current/RHFLMCAL/ | SND::P061::UGPL | http://vocab.nerc.ac.uk/collection/P06/current/UGPL/ |  | 2023-06-23
FLUORESCENCE_PE | Phycoerythrin signal from fluorescence sensor |  |  | count | - | - | ib
PE | Phycoerythrin |  |  |  | - | - | b
BETA_BACKSCATTERING660 |  |  |  | count | - | - | ib
BETA_BACKSCATTERING700_SCALED | Total angle specific volume from backscattering sensor at 700 nanometers with factory calibration |  |  | m-1 sr-1 | - | - | ib
BETA_BACKSCATTERING470_SCALED |  |  |  |  | - | -
BETA_BACKSCATTERING880 | Total angle specific volume from backscattering sensor at 880 nanometers |  |  | count | - | - | ib | SDN:P01::NVLTOBS1 |  | SDN:P061::UUUU |  |  | 2023-06-26